- Metro Lot C

  - Site Layout: Overall, this site will lay out well considering the size of the parcel.

  - Site Work: Should have a decent cut/fill ratio making it cost effective.

  - Stormwater: It is most likely drains into the retention pond adjacent to the parcel.

  - Sewer and Water: Stubs are shown on E Metro Rd. 2 possible locations for where stubs were located.

    - Contingency to add: Storm water pond maintenance agreement. (This likely is planned in the offer since someone developed these sites)

- Metro Lot D

  - Site Layout: Site may have some challenges with roads all around it

  - Site Work: Should have a decent cut/fill ratio making it cost effective.

  - Stormwater: It is most likely drains into the retention pond adjacent to the parcel.

  - Sewer and Water: Stubs are shown on E Metro Rd.

    - Concern: Wetlands on site are present.

    - Contingency to add: Storm water pond maintenance agreement. (This likely is planned in the offer since someone developed these sites)

- Agricultural Dr.

  - Site Layout: Slightly challenging

  - Site Work: Unique challenges with the roadway.

  - Stormwater: Cost to install storm water retention area.

  - Sewer and Water: Should be readily available from Pflaum Rd.

    - Concern: Adding the Pond to this site will reduce the usable space by at least a half-acre.

    - Concern: Adding a storm water pond would be in the ball park of $100,000 - $200,000

    - Plan Review Concern: If the building is required to have a ‘particular façade requirement’ the on front. You will likely experience the requirement on 2 sides.

- Shopko Site

  - Site Layout: Overall, this site will lay out well.

  - Site Work: Likely going to have fill brought in. Asphalt can be grinded and reused for subgrade.

  - Stormwater: It is most likely this parking lot drains to a detention pond behind the existing Shopko building.

  - Sewer and Water: Should be available from Shopko Dr.

    - Concern: Zoning – In the process of hearing back from zoning regarding a type of building (at this point in conversations, we don’t discuss the name of the future owner, just the code / regulations / potential building)

    - Contingency to add: Storm water pond maintenance agreement. (If the pond in the back of the Shopko is used for this surface area, it would be in SCLS best interest to make sure there is an agreement in place for all future maintenance.)

    - Site Layout: Slightly challenging